## Data
1402
Blue
x0 | y0 | Dichroic | Order | Grating Pos (ISU) | X(mmTelSim) | Y(mmTelSim) |  |  | x | BD105 |  | y
14.2638 | 10.1837 | 105 | 2 | 1248900 | 1.3439 | 0.6169 |  |  | x = 5.5479E-07*GrtPos + 6.5102E-01 |  |  | y = -9.2955E-09*GrtPos+ 6.2851E-01
14.2525 | 10.1628 |  | 1 | 431300 | 0.8903 | 0.6245 |  | a | b | ISU | a | b | ISU
14.2761 | 10.1926 | 130 | 2 | 734400 | 0.364 | 0.7012 |  | 5.5479e-07 | 0.65102 | 734000 | -9.2955e-09 | 0.62851 | 734000
14.2817 | 10.1756 |  | 1 | 1061500 | 0.6432 | 0.8383 |  | 1.0582 | mmTelSim |  | 0.62169 | mmTelSim
[8 empty] | 0.89103 | mm |  | 0.52346 | mm
|  | Red | [5 empty] | U | Rx_cx[1] |  | V | Rx_cy[1]
14.2748 | 10.1399 | 105 | 1 | 508066 | -0.8506 | 0.7841 |  | 0.89103 | ??? |  | -0.52346 | ???
14.2908 | 10.1759 |  |  | 1019500 | -0.8765 | 0.795 |  |  | x | BD130 |  | z
14.3073 | 10.129 | 130 | 1 | 1496596 | -1.0058 | 0.6737 |  |  | y = 6.0000E-07x - 3.5170E-02 |  |  | y =7.6975E-01
14.3817 | 10.796 |  |  | 1897100 | -1.0722 | 0.6357 | noisy rejected | 6e-07 | -0.03517 | 734000 | 0 | 0.76975 | 734000
[8 empty] | 0.40523 | mmTelSim |  | 0.76975 | mmTelSim
[8 empty] | 0.3412 | mm |  | 0.64813 | mm
[8 empty] | U | Rx_cx[2] |  | V | Rx_cy[2]
Not as many data points as for later flight series | [7 empty] | 0.3412 | ??? |  | -0.64813 | ???
use the following estimates:
RD105
BlueX D105: | fit results from this data set | [7 empty] | x = -5.0642E-08*GrtPos - 8.2487E-01 |  |  | y = -1.0000E-08*GrtPos + 7.9719E-01
BlueX D130: | slope of 6e-7 offset fitted so that both data points from this set have the same error | [6 empty] | -5.0642e-08 | -0.82487 | 1019000 | -1e-08 | 0.79719 | 1019000
BlueY D105: | fit results from this data set | [6 empty] | -0.87647 | mmTelSim |  | 0.787 | mmTelSim
BlueY D130: | slope of 0 offset is mean of the two data points | [6 empty] | -0.73799 | mm |  | 0.66265 | mm
RD130
RedX D105: | fit results from this data set | [7 empty] | x = -3.5000E-07x - 4.8199e-1 |  |  | y = -2.9810E-07x + 1.1261E+00
RedX D130: | slope of -3.5e-7 offset to cross data point | [6 empty] | -3.5e-07 | -0.48199 | 1019000 | -2.981e-07 | 1.1261 | 1019000
RedY D105: | slope of -1e-8 offset fitted so that both data points from this set have the same error | [6 empty] | -0.83864 | mmTelSim |  | 0.82234 | mmTelSim
RedY D130: | use result from 1502 | [6 empty] | -0.70613 | mm |  | 0.69241 | mm
[7 empty] | MEANRED: | -0.85756 | mmTelSim |  | 0.80467 | mmTelSim
On FIFI-LS Flights #1 and #2 boresight was not correct | [7 empty] | -0.72206 | mm |  | 0.67753 | mm
On FIFI-LS Flights #3 boresight was corrected, but the correction did not work -> sign flips in K-mirror control | [7 empty] | U | Rx_cx[0] |  | V | Rx_cy[0]
Correcting Astrometry for this flight series needs deeper investigation in the data logs | [7 empty] | -0.72206 | ??? |  | -0.67753 | ???
1404
No lab measurements performed
Preliminary best estimates are the results from 1402
Flights 160/161 |  | Rx_cx[1] | 1.37 | as flown |  | Rx_cy[1] | -0.55 | as flown | Note: On flight 160 the boresight (center of K-Mirror circle) was measured
|  | Rx_cx[2] | 1.37 | as flown |  | Rx_cy[2] | -0.55 | as flown | after the first ORION leg. Full correction of astrometry needs to take the
|  | Rx_cx[0] | -0.72254 | as flown |  | Rx_cy[0] | -0.68383 | as flown | offset of the intial measurements in to account
Finally the setpoint was set to x:-0.15 arcseconds and y -0.85 arcseconds
Flights 162/163/164 |  | Rx_cx[1] | 1.37 | as flown |  | Rx_cy[1] | -0.55 | as flown
|  | Rx_cx[2] | 1.37 | as flown |  | Rx_cy[2] | -0.55 | as flown
|  | Rx_cx[0] | -0.795 | as flown |  | Rx_cy[0] | -0.34 | as flown
1502
Blue
x0 | y0 | Dichroic | Order | Grating Pos (ISU) | X(mmTelSim) | Y(mmTelSim) |  |  | x | BD105 |  | y
14.9227 | 10.8258 | 105 | 2 | 734000 | 1.4819 | 0.7514 | noisy rejected |  | x = 6.0453E-07*GrtPos + 1.3032E+00 |  |  | y = 3.1051E-08*GrtPos + 6.6447E-01
14.9133 | 10.8855 |  |  | 971000 | 1.9659 | 0.7046 |  | a | b | ISU | a | b | ISU
14.9052 | 10.8314 |  |  | 1249000 | 2.0242 | 0.6999 |  | 6.0453e-07 | 1.3032 | 734000 | 3.1051e-08 | 0.66447 | 734000
14.9051 | 10.8109 |  | 1 | 180000 | 1.3995 | 0.6718 |  | 1.7469 | mmTelSim |  | 0.68726 | mmTelSim
14.9134 | 10.8031 |  |  | 431000 | 1.5947 | 0.6777 |  | 1.4709 | mm |  | 0.57867 | mm
14.9147 | 10.7988 |  |  | 700000 | 1.6662 | 0.678 |  | U | Rx_cx[1] |  | V | Rx_cy[1]
14.9305 | 10.7991 | 130 | 2 | 734000 | 0.968 | 0.8111 |  | 1.4709 | 1.7 | per flight descr. | -0.57867 | -0.54 | per flight descr.
14.938 | 10.8035 |  |  | 971000 | 1.4247 | 0.9286 |  |  | x | BD130 |  | y
14.9343 | 10.7993 |  |  | 1249000 | 1.376 | 0.8505 |  |  | x = 6.5454E-07*GrtPos + 6.1681E-01 |  |  | y = 7.0472E-08*GrtPos + 8.0469E-01
14.9484 | 10.7906 |  | 1 | 180000 | 0.7401 | 0.8138 |  | 6.5454e-07 | 0.61681 | 734000 | 7.0472e-08 | 0.80469 | 734000
14.9456 | 10.7901 |  |  | 431000 | 0.9163 | 0.8431 |  | 1.0972 | mmTelSim |  | 0.85642 | mmTelSim
14.9457 | 10.7967 |  |  | 1062000 | 1.3043 | 0.9071 |  | 0.92388 | mm |  | 0.7211 | mm
[8 empty] | U | Rx_cx[2] |  | V | Rx_cy[2]
|  | Red | [5 empty] | 0.92388 | 1.7 | per flight descr. | -0.7211 | -0.54 | per flight descr.
14.9203 | 10.8007 | 105 | 1 | 464000 | -1.7967 | 0.798
14.9516 | 10.8231 |  |  | 837000 | -1.8442 | 0.8088 |  |  | x | RD105 |  | y
14.9401 | 10.8096 |  |  | 951000 | -1.8688 | 0.7857 |  |  | x = -1.2003E-07*GrtPos - 1.7505E+00 |  |  | y = -3.3793E-08*GrtPos + 8.2268E-01
14.9438 | 10.8292 |  |  | 1019000 | -1.8813 | 0.7986 |  | -1.2003e-07 | -1.7505 | 1019000 | -3.3793e-08 | 0.82268 | 1019000
14.9444 | 10.7917 |  |  | 1099000 | -1.9021 | 0.7792 |  | -1.8728 | mmTelSim |  | 0.78824 | mmTelSim
14.9636 | 10.7847 |  |  | 1497000 | -1.9139 | 0.7675 |  | -1.5769 | mm |  | 0.6637 | mm
14.9238 | 10.7987 | 130 | 1 | 508000 | 6.8045 | 1.1918 | noisy rejected |  | x | RD130 |  | y
14.9586 | 10.8083 |  |  | 837000 | -1.7976 | 0.8647 |  |  | x= -3.7358E-07*GrtPos - 1.4814E+00 |  |  | y = -2.9810E-07*GrtPos + 1.1261E+00
14.9467 | 10.8098 |  |  | 951000 | -1.8413 | 0.8433 |  | -3.7358e-07 | -1.4814 | 1019000 | -2.981e-07 | 1.1261 | 1019000
14.9592 | 10.8024 |  |  | 1019000 | -1.8557 | 0.8339 |  | -1.8621 | mmTelSim |  | 0.82234 | mmTelSim
14.9544 | 10.7968 |  |  | 1099000 | -1.8874 | 0.8033 |  | -1.5679 | mm |  | 0.69241 | mm
14.9381 | 10.795 |  |  | 1497000 | -2.0434 | 0.6746
[7 empty] | MEANRED: | -1.8674 | mmTelSim |  | 0.80529 | mmTelSim
[8 empty] | -1.5724 | mm |  | 0.67805 | mm
[8 empty] | U | Rx_cx[0] |  | V | Rx_cy[0]
[8 empty] | -1.5724 | -1.51 | per flight descr. | -0.67805 | -0.73 | per flight descr.
1509
Blue
x0 | y0 | Dichroic | Order | Grating Pos (ISU) | X(mmTelSim) | Y(mmTelSim) |  |  | x | BD105 |  | y
13.8137 | 13.8447 | 105 | 2 | 734000 | 0.953 | 0.6753 |  |  | x = 5.5818E-07*GrtPos + 6.6651E-01 |  |  | y = 7.4837E-09*GrtPos + 6.5334E-01
13.8067 | 13.8382 |  |  | 971000 | 1.2691 | 0.6811 |  | a | b | ISU | a | b | ISU
13.8001 | 13.8404 |  |  | 1249000 | 1.3829 | 0.6748 |  | 5.5818e-07 | 0.66651 | 734000 | 7.4837e-09 | 0.65334 | 734000
13.782 | 13.7937 |  |  | 1600000 | 1.5631 | 0.6387 |  | 1.0762 | mmTelSim |  | 0.65883 | mmTelSim
13.7831 | 13.8048 |  | 1 | 180000 | 0.7872 | 0.6363 |  | 0.90617 | mm |  | 0.55474 | mm
13.7924 | 13.7971 |  |  | 431000 | 0.9644 | 0.6505 |  | U | Rx_cx[1] |  | V | Rx_cy[1]
13.7884 | 13.7945 |  |  | 700000 | 1.0196 | 0.6606 |  | 0.90617 | per flight description |  | -0.55474 | per flight description
13.8066 | 13.762 | 130 | 2 | 734000 | 0.3335 | 0.7806 |  |  | x | BD130 |  | y
13.8094 | 13.7692 |  |  | 971000 | 0.8212 | 0.8841 |  |  | x = 6.0049E-07*GrtPos + 3.2266E-02 |  |  | y = 5.7046E-08*GrtPos + 7.4273E-01
13.8063 | 13.7718 |  |  | 1249000 | 0.7577 | 0.8161 |  | 6.0049e-07 | 0.032266 | 734000 | 5.7046e-08 | 0.74273 | 734000
13.8093 | 13.7815 |  |  | 1600000 | 0.9394 | 0.7837 |  | 0.47303 | mmTelSim |  | 0.7846 | mmTelSim
13.7969 | 13.7785 |  | 1 | 180000 | 0.1196 | 0.7239 |  | 0.39829 | mm |  | 0.66063 | mm
13.7993 | 13.7681 |  |  | 431000 | 0.3099 | 0.7554 |  | U | Rx_cx[2] |  | V | Rx_cy[2]
13.7997 | 13.7726 |  |  | 1062000 | 0.6838 | 0.8105 |  | 0.39829 | per flight description |  | -0.66063 | per flight description
|  | Red | [6 empty] | x | RD105 |  | y
13.7885 | 13.8275 | 105 | 1 | 464000 | -1.8181 | 0.7641 |  |  | x = -9.9069E-08*GrtPos - 1.8197E+00 |  |  | y = -1.4301E-08*GrtPos + 7.8356E-01
13.827 | 13.8567 |  |  | 837000 | -1.9061 | 0.7931 |  | -9.9069e-08 | -1.8197 | 1019000 | -1.4301e-08 | 0.78356 | 1019000
13.8074 | 13.7779 |  |  | 951000 | -1.9721 | 0.7492 |  | -1.9207 | mmTelSim |  | 0.76899 | mmTelSim
13.8244 | 13.8538 |  |  | 1019000 | -1.952 | 0.7907 |  | -1.6172 | mm |  | 0.64749 | mm
13.8047 | 13.834 |  |  | 1497000 | -1.9224 | 0.7525 |  |  | x | RD130 |  | y
13.7916 | 13.7156 | 130 | 1 | 508000 | 6.6738 | 1.0512 | noisy rejected |  | x = -1.8399E-07GrtPos - 1.7446E+00 |  |  | y = -2.8492E-07*GrtPos + 1.0517E+00
13.7996 | 13.8033 | spaxel 17 bad for |  | 837000 | -1.8736 | 0.7828 |  | -1.8399e-07 | -1.7446 | 1019000 | -2.8492e-07 | 1.0517 | 1019000
13.81 | 13.7842 | 130 not used |  | 951000 | -1.9358 | 0.8094 |  | -1.9321 | mmTelSim |  | 0.76137 | mmTelSim
13.8041 | 13.8007 |  |  | 1019000 | -1.9266 | 0.7414 |  | -1.6268 | mm |  | 0.64107 | mm
13.823 | 13.778 |  |  | 1099000 | -1.9728 | 0.7735
13.8311 | 13.7269 |  |  | 1497000 | -2.0085 | 0.6118
13.8204 | 13.7205 |  |  | 1700000 | -2.3943 | 0.6937 | noisy rejected
[7 empty] | MEANRED: | -1.9264 | mmTelSim |  | 0.76518 | mmTelSim
[8 empty] | -1.622 | mm |  | 0.64428 | mm
[8 empty] | U | Rx_cx[0] |  | V | Rx_cy[0]
[8 empty] | -1.622 | per flight description |  | -0.64428 | per flight description
1602
Blue
x0 | y0 | Dichroic | Order | Grating Pos (ISU) | X(mmTelSim) | Y(mmTelSim) |  |  | x | BD105 |  | y
|  | 105 | 2 | 734000 | 0.71534 | 0.74028 |  |  | x = 5.9107E-07*GrtPos + 4.2068E-01 |  |  | y = -1.8282E-08*GrtPos + 7.2983E-01
|  |  |  | 971000 | 1.0565 | 0.71298 |  | a | b | ISU | a | b | ISU
|  |  |  | 1249000 | 1.1724 | 0.68818 |  | 5.9107e-07 | 0.42068 | 734000 | -1.8282e-08 | 0.72983 | 734000
|  |  |  | 1600000 | 1.3742 | 0.69701 |  | 0.85453 | mmTelSim |  | 0.71641 | mmTelSim
|  |  | 1 | 180000 | 0.54118 | 0.70569 |  | 0.71951 | mm |  | 0.60322 | mm
|  |  |  | 431000 | 0.74655 | 0.71586 |  | U | Rx_cx[1] |  | V | Rx_cy[1]
|  |  |  | 700000 | 0.80522 | 0.74156 |  | 0.71951 | as flown |  | -0.60322 | as flown
|  | 130 | 2 | 734000 | 0.15172 | 0.75026 |  |  | x | BD130 |  | y
|  |  |  | 971000 | 0.62334 | 0.85662 |  |  | x = 5.7920E-07*GrtPos - 1.5043E-01 |  |  | y = -2.6382E-09*GrtPos + 7.9128E-01
|  |  |  | 1249000 | 0.55376 | 0.77918 |  | 5.792e-07 | -0.15043 | 734000 | -2.6382e-09 | 0.79128 | 734000
|  |  |  | 1600000 | 0.71474 | 0.73791 |  | 0.2747 | mmTelSim |  | 0.78934 | mmTelSim
|  |  | 1 | 180000 | -0.068135 | 0.76484 |  | 0.2313 | mm |  | 0.66463 | mm
|  |  |  | 431000 | 0.10517 | 0.79245 |  | U | Rx_cx[2] |  | V | Rx_cy[2]
|  |  |  | 1062000 | 0.47313 | 0.84129 |  | 0.2313 | as flown |  | -0.66463 | as flown
|  | Red | [6 empty] | x | RD105 |  | y
|  | 105 | 1 | 464000 | -1.8213 | 0.83984 |  |  | x = -1.2656E-07*GrtPos - 1.7524E+00 |  |  | y = -1.0215E-07*GrtPos + 8.7647E-01
|  |  |  | 837000 | -1.8361 | 0.76561 |  | -1.2656e-07 | -1.7524 | 1019000 | -1.0215e-07 | 0.87647 | 1019000
|  |  |  | 951000 | -1.87 | 0.77892 |  | -1.8814 | mmTelSim |  | 0.77238 | mmTelSim
|  |  |  | 1019000 | -1.8788 | 0.77075 |  | -1.5841 | mm |  | 0.65034 | mm
|  |  |  | 1099000 | -1.909 | 0.78084
|  |  |  | 1497000 | -1.8677 | 0.71436 | noisy rejct |  | x | RD130 |  | y
|  |  |  | 1700000 | -1.7483 | 0.76579 | noisy rejct |  | x = -3.6524E-07*GrtPos - 1.4780E+00 |  |  | y = -2.9854E-07x + 1.0383E+00
|  | 130 | 1 | 837000 | -1.7872 | 0.78585 |  | -3.6524e-07 | -1.478 | 1019000 | -2.9854e-07 | 1.0383 | 1019000
|  |  |  | 951000 | -1.8094 | 0.75297 |  | -1.8502 | mmTelSim |  | 0.73409 | mmTelSim
|  |  |  | 1019000 | -1.8683 | 0.74482 |  | -1.5579 | mm |  | 0.6181 | mm
|  |  |  | 1099000 | -1.8738 | 0.70326
|  |  |  | 1497000 | -1.92 | 0.63669 | noisy rejct
|  |  |  | 1700000 | -1.797 | 0.38892 | noisy rejct
[7 empty] | MEANRED: | -1.8658 | mmTelSim |  | 0.75323 | mmTelSim
[8 empty] | -1.571 | mm |  | 0.63422 | mm
[8 empty] | U | Rx_cx[0] |  | V | Rx_cy[0]
[8 empty] | -1.571 | as flown |  | -0.63422 | as flown
1606
Blue
x0 | y0 | Dichroic | Order | Grating Pos (ISU) | X(mmTelSim) | Y(mmTelSim) |  |  | x | BD105 |  | y
8.4514 | 14.9266 | 105 | 2 | 734000 | 0.6666 | 0.7596 |  |  | x = 5.7967E-07*GrtPos + 3.6192E-01 |  |  | y = -4.8343E-09*GrtPos + 7.2904E-01
8.4455 | 14.9444 |  |  | 971000 | 1.0138 | 0.7416 |  | a | b | ISU | a | b | ISU
8.4359 | 14.9415 |  |  | 1249000 | 1.1056 | 0.7431 |  | 5.7967e-07 | 0.36192 | 734000 | -4.8343e-09 | 0.72904 | 734000
8.4288 | 14.9463 |  |  | 1600000 | 1.2784 | 0.6852 |  | 0.7874 | mmTelSim |  | 0.72549 | mmTelSim
8.42 | 14.9415 |  | 1 | 180000 | 0.4771 | 0.7054 |  | 0.66299 | mm |  | 0.61086 | mm
8.4317 | 14.938 |  |  | 431000 | 0.6686 | 0.7129 |  | U | Rx_cx[1] |  | V | Rx_cy[1]
8.4388 | 14.9327 |  |  | 700000 | 0.7231 | 0.7271 |  | 0.66299 | as flown |  | -0.61086 | as flown
8.4183 | 14.9308 | 130 | 2 | 734000 | 0.0747 | 0.8257 |  |  | x | BD130 |  | y
8.4264 | 14.9469 |  |  | 971000 | 0.5135 | 0.9451 |  |  | x = 5.5868E-07GrtPos - 2.2547E-01 |  |  | y = -2.1745E-08*GrtPos + 8.9421E-01
8.4273 | 14.9542 |  |  | 1249000 | 0.4333 | 0.8681 |  | 5.5868e-07 | -0.22547 | 734000 | -2.1745e-08 | 0.89423 | 734000
8.4424 | 14.9163 |  |  | 1600000 | 0.6266 | 0.7981 |  | 0.1846 | mmTelSim |  | 0.87827 | mmTelSim
8.4482 | 14.9417 |  | 1 | 180000 | -0.1388 | 0.8619 |  | 0.15543 | mm |  | 0.7395 | mm
8.4483 | 14.9314 |  |  | 431000 | 0.0163 | 0.8895 |  | U | Rx_cx[2] |  | V | Rx_cy[2]
8.4505 | 14.9439 |  |  | 1062000 | 0.375 | 0.9357 |  | 0.15543 | 0.54 | as flown | -0.7395 | as flown
in flight Rx_cx[2] resulted from error in previous table version
|  | Red | [6 empty] | x | RD105 |  | y
8.4304 | 14.9377 | 105 | 1 | 464000 | -1.5481 | 0.8241 |  |  | y = -8.5115E-08x - 1.5026E+00 |  |  | y = -7.5541E-08x + 8.6518E-01
8.4627 | 14.8741 |  |  | 837000 | -1.5591 | 0.8181 |  | -8.5115e-08 | -1.5026 | 1019000 | -7.5541e-08 | 0.86518 | 1019000
8.4403 | 14.8694 |  |  | 951000 | -1.5824 | 0.7807 |  | -1.5893 | mmTelSim |  | 0.7882 | mmTelSim
8.4462 | 14.8635 |  |  | 1019000 | -1.5919 | 0.8066 |  | -1.3382 | mm |  | 0.66367 | mm
8.436 | 14.8778 |  |  | 1099000 | -1.6034 | 0.7663
8.447 | 14.9191 |  |  | 1497000 | -1.7449 | 0.8296 | noisy rejct |  | x | RD130 |  | y
8.4427 | 14.8944 |  |  | 1300000 | -1.6589 | 0.7688 | noisy rejct |  | x = -5.2855E-07GrtPos - 1.0724E+00 |  |  | y = -3.0313E-07GrtPos + 1.1145E+00
8.4479 | 14.8928 | 130 | 1 | 837000 | -1.5095 | 0.8675 |  | -5.2855e-07 | -1.0724 | 1019000 | -3.0313e-07 | 1.1145 | 1019000
8.4327 | 14.8918 |  |  | 951000 | -1.5949 | 0.8053 |  | -1.611 | mmTelSim |  | 0.80561 | mmTelSim
8.4468 | 14.8791 |  |  | 1019000 | -1.5919 | 0.8222 |  | -1.3565 | mm |  | 0.67832 | mm
8.4287 | 14.8983 |  |  | 1099000 | -1.658 | 0.7789
8.4461 | 14.9132 |  |  | 1497000 | -1.6422 | 0.6933 | noisy rejct
8.433 | 14.8752 |  |  | 1300000 | -1.6489 | 0.6875 | noisy rejct
[7 empty] | MEANRED: | -1.6002 | mmTelSim |  | 0.79691 | mmTelSim
[8 empty] | -1.3473 | mm |  | 0.671 | mm
[8 empty] | U | Rx_cx[0] |  | V | Rx_cy[0]
[8 empty] | -1.3473 | as flown |  | -0.671 | as flown
1702
Blue
x0 | y0 | Dichroic | Order | Grating Pos (ISU) | X(mmTelSim) | Y(mmTelSim) |  |  | x | BD105 |  | y
7.0507 | 14.8378 | 105 | 2 | 734000 | 1.0989 | 0.771 |  |  | x = 6.0225E-07*GrtPos + 7.2181E-01 |  |  | y = -2.4011E-08*GrtPos + 7.9416E-01
7.156 | 14.8762 |  |  | 971000 | 1.3665 | 0.7759 |  | a | b | ISU | a | b | ISU
7.0462 | 14.8451 |  |  | 1249000 | 1.4955 | 0.7277 |  | 6.0225e-07 | 0.72181 | 1195000 | -2.4011e-08 | 0.79416 | 1195000 | ~62.1 microns
7.1347 | 14.8553 |  |  | 1600000 | 1.6672 | 0.7699 |  | 1.4415 | mmTelSim |  | 0.76547 | mmTelSim
7.1357 | 14.8545 |  | 1 | 180000 | 0.8254 | 0.7747 |  | 1.2137 | mm |  | 0.64452 | mm
7.1425 | 14.8514 |  |  | 431000 | 1.0257 | 0.7904 |  | U | Rx_cx[1] |  | V | Rx_cy[1]
7.1472 | 14.8524 |  |  | 700000 | 1.1057 | 0.8087 |  | 1.2137 | as flown |  | -0.64452 | as flown
7.0437 | 14.884 | 130 | 2 | 734000 | 0.5384 | 0.8021 |  |  | x | BD130 |  | y
7.0496 | 14.8895 |  |  | 971000 | 0.9977 | 0.9117 |  |  | x = 5.9283E-07*GrtPos + 2.2974E-01 |  |  | y = -6.1138E-09*GrtPos + 8.3638E-01
7.0532 | 14.8809 |  |  | 1249000 | 0.936 | 0.8236 |  | 5.9283e-07 | 0.22974 | 1195000 | -6.1138e-09 | 0.83638 | 1195000 | ~62.1 microns
7.047 | 14.8663 |  |  | 1600000 | 1.081 | 0.7835 |  | 0.93817 | mmTelSim |  | 0.82907 | mmTelSim
7.0664 | 14.8804 |  | 1 | 180000 | 0.2996 | 0.8097 |  | 0.78994 | mm |  | 0.69808 | mm
7.071 | 14.8765 |  |  | 431000 | 0.4817 | 0.835 |  | U | Rx_cx[2] |  | V | Rx_cy[2]
7.1084 | 14.9882 |  |  | 1062000 | 0.9653 | 0.851 |  | 0.78994 | as flown |  | -0.69808 | as flown
|  | Red | [6 empty] | x | RD105 |  | y
7.1405 | 14.7707 | 105 | 1 | 267000 | -1.5887 | 0.8141 | noisy? |  | x = -3.8481E-07*GrtPos - 1.4736E+00 |  |  | y = -1.2159E-07*GrtPos + 8.3184E-01
7.0586 | 14.8007 |  |  | 640000 | -1.6834 | 0.7052 |  | -3.8481e-07 | -1.4736 | 822000 | -1.2159e-07 | 0.83184 | 822000 | ~157.7 microns
7.1388 | 14.7911 |  |  | 754000 | -1.7412 | 0.758 |  | -1.7899 | mmTelSim |  | 0.73189 | mmTelSim
7.1576 | 14.8086 |  |  | 822000 | -1.7767 | 0.7342 |  | -1.5071 | mm |  | 0.61625 | mm
7.1325 | 14.7409 |  |  | 902000 | -1.9417 | 0.7422 |  | U | Rx_cx[0] |  | V | Rx_cy[0]
7.0418 | 14.4227 |  |  | 1300000 | -1.9214 | 0.6573 | noisy rejct | -1.5071 | as flown |  | -0.61625 | as flown
7.1381 | 14.7556 |  |  | 1003000 | -1.7987 | 0.7038 | noisy? |  | x | RD130 |  | y
|  | 130 | 1 | 311000 |  |  | noisy rejct |  | x = -7.7788E-07*GrtPos - 1.0877E+00 |  |  | y = -2.9825E-07*GrtPos + 9.8104E-01
7.0792 | 14.8037 |  |  | 640000 | -1.5896 | 0.7767 |  | -7.7788e-07 | -1.0877 | 822000 | -2.9825e-07 | 0.98104 | 822000
7.0445 | 14.9166 |  |  | 754000 | -1.6879 | 0.7583 |  | -1.7271 | mmTelSim |  | 0.73588 | mmTelSim
7.97 | 14.789 |  |  | 822000 | -1.6606 | 0.7486 |  | -1.4542 | mm |  | 0.61961 | mm
7.0427 | 14.825 |  |  | 902000 | -1.8607 | 0.7323
7.092 | 14.7675 |  |  | 1003000 | -1.8456 | 0.6602
1300000
values after a reinstall of telsim | [6 empty] | MEANRED: | -1.7585 | mmTelSim |  | 0.73389 | mmTelSim
[8 empty] | -1.4807 | mm |  | 0.61793 | mm
[8 empty] | U | Rx_cx[0] |  | V | Rx_cy[0]
[8 empty] | -1.4807 |  |  | -0.61793